## Deliver
|  | ใบนำส่งเครื่องมือวัด (Measuring Instrument Delivery Sheet) | [13 empty] | ลำดับงาน :
Quotation no. :
บริษัท xxx จำกัด
|  | ที่อยู่ | [13 empty] | วันที่นำส่ง :
|  | โทร. Xx-xxx-xxxx | [13 empty] | กำหนดเสร็จ :
Tax ID : xxxxx
รายละเอียดห้องปฏิบัติการ (สำหรับเปิดใบสั่งซื้อ)
| ชื่อผู้ให้บริการ : | [7 empty] | ที่อยู่ :
| ชื่อผู้ติดต่อ : | [7 empty] | โทร : |  |  |  |  | E-mail :
รายละเอียด สำหรับออกใบรับรองผลสอบเทียบ / ซ่อม
| ชื่อ : | [8 empty] | ที่อยู่ :
เงื่อนไขการขอรับบริการ
การสอบเทียบ
| สอบเทียบ (ไม่ปรับค่า) | [5 empty] | ไม่ต้องตัดสินผลสอบเทียบ |  |  |  | วิธีการสอบเทียบตามเงื่อนไขห้องปฏิบัติการ | [5 empty] | ไม่ต้องระบุ Due date
| ปรับเทียบ (ยืนยันให้ปรับค่ากรณีเกิน MPE) | [5 empty] | ตัดสินผลสอบเทียบ |  |  |  | วิธีการสอบเทียบ | [5 empty] | ระบุ Due date ครั้ง/ปี
| การส่อมแซม / บำรุงรักษา | [9 empty] | อุปกรณ์ คู่มือ หรืออี่น ๆ ประกอบการการใช้งาน ที่ได้นำส่งพร้อมกัน
| รายละเอียด | [10 empty] | มี ระบุ
ไม่มี
รายละเอียดเครื่องมือ
ลำดับ | ชื่อเครื่องมือ |  |  | ผู้ผลิต |  | รุ่น |  | หมายเลขเครื่อง | จำนวน | จุดสอบเทียบ |  |  |  | เกณฑ์ยอมรับ |  | ผลการตรวจสอบสภาพทั่วไป
No. | Instrument Name |  |  | Manufacture |  | Model |  | ID no. | Q'ty | Cal point |  |  |  | MPE |  | การส่งมอบ |  | หลังรับคืน
[16 empty] | ∕ | × | ∕ | ×
[16 empty] | ∕ | × | ∕ | ×
[16 empty] | ∕ | × | ∕ | ×
หมายเหตุ : / = ปกติ |  |  | :- ระบุความผิดปกติ
(วงกลม) | x = ผิดปกติ |  | (ถ้ามี)
สำหรับบริษัท | [11 empty] | สำหรับห้องปฏิบัติการ / ผู้ให้บริการ
| ลงชื่อ |  |  |  | ผู้นำส่งเครื่องมือ | [7 empty] | ลงชื่อ |  |  |  | ผู้รับเครื่องมือ
| วันที่ | / | / | [9 empty] | วันที่ | / | /
| ลงชื่อ |  |  |  | ผู้รับคืนเครื่องมือ | [7 empty] | ลงชื่อ |  |  |  | ผู้นำคืนเครื่องมือ
| วันที่ | / | / | [9 empty] | วันที่ | / | /
FM-CA-500-09 / Effective date : xx-xx-xxxx / Rev : 00 | [18 empty] | 1 of 1
Note on R24: Tawee Kunsamut: วงกลมสำหรับ / = ปกติ X = ผิดปกติ

## Sheet1 (hidden)
ทะเบียนเครื่องมือวัด เครื่องมือตรวจสอบ (List of Measuring and Test Equipment)
No. | EQ ID# | Equipment Name | Manufacturing | Model | Serial No. | Range | Resolution | Allowable value | Calibration cycle | Remark | รหัสทรัพย์สิน (Asset)
1 | EQ-001 | Digital Micrometer | Insize | 3103-25 | 90678091 | 0 - 25 mm | 0.001 mm | = +/-(0.008x 1/5 )mm =+/-0.002 mm | 1 Year | Cancel (Refer NCR QA-1509007) Eff. Date: 21 Sep. 2015
2 | EQ-002 | Electronic Caliper | Insize | 1137-200 | 1805100151 | 0-200 mm | 0.01 mm | = +/-(0.25x 1/5 )mm =+/-0.05 mm | 1 Year | Cancel (Refer NCR QA-1510008) Eff. Date: 13 Oct. 2015
3 | EQ-003 | Electronic Caliper | Insize | 1137-201 | 1805100129 | 0-200 mm | 0.01 mm | = +/-(0.25x 1/5 )mm =+/-0.05 mm | 1 Year | Cancel (Refer NCR QA-1301001) Eff. Date: 08 Jan. 2013
4 | EQ-004 | Steel Ruler 600 mm | I.n.c.a. | - | - | 0-600 mm 0-24 inch | 0.5 mm 1/32 inch | +/-0.1 mm +/-0.2 mm | 1 Year | Cancel (Refer NCR QA-1409013) Eff. Date: 05 Sep. 2014
5 | EQ-005 | Micrometer | Mitutoyo | 103-137-70 | 46114477 | 0-25 mm | 0.01 mm | +/-0.002 mm | 1 Year | Cancel because it was controled by customer
6 | EQ-006 | Electronic Balance | Taiwan Scale (TSCALE) | QHW-3+ | 0319046006 | 0-3000 g | 0.05 g | +/-0.2 g or +/-0.0002 kg | 1 Year | Cancel: QC Eff. Date : 25 Feb. 2019
7 | EQ-007 | Digital Caliper | Mitutoyo | 500-197-20/CD-8"-CSX | 1102332 | 0-200 mm | 0.01 mm | +/-0.04 mm | 1 Year | Cancel /Location : QA, QC
8 | EQ-008 | Steel Ruler 300 mm | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1 mm | +/-0.2mm +/-0.1 inch | 1 Year | Cancel Eff. Date: 11 Sep. 2013
Ex | EQ-009 | Electronic Balance (3KG.) | Taiwan Scale (TSCALE) | QHW-3+-R | 4612010002 | 0-3000 g | 0.05 g | +/-0.2 g | 1 Year | Location : PD, QC
10 | EQ-010 | Digital Caliper | Mitutoyo | 500-197-20/CD-8"-CSX | 1103048 | 0-200 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : QA
11 | EQ-011 | Measuring Machine | STARTECH | VMZ-3020 | 62091A3AAE200578 | - | 0.001mm | (3+L/200)mm | 1 Year | Location : QA
12 | EQ-012 | Digital Caliper | Mitutoyo | 500-197-20/CD-8"-CSX | 13149654 | 0-200 mm | 0.01mm | Accuracy = +/-0.03mm | 1 Year | Location : QA | s
13 | EQ-013 | Steel Ruler 600 mm | - | - | - | 0-100 mm 100-600mm 0-3 inch 3-4 inch 4-24 inch | 0.5 mm 1 mm 1/32 inch 1/64inch 1/16 inch | +/-0.1 mm +/-0.2 mm +/- 0.012 inch (Range: 0-24inch) | 1 Year | Location : QA/QC/PD
14 | EQ-014 | Digital Micrometer | Mitutoyo | 293-140 | 45041338 | 0-25 mm | 0.001mm | +/-(0.008 x 1/5)mm = +/-0.0016 mm | 1 Year | Location : QA
15 | EQ-015 | Digital Micrometer | Mitutoyo | 293-140 | 35161970 | 0-25 mm | 0.001mm | +/-(0.008 x 1/5)mm = +/-0.0016 mm | 1 Year | Location : QA,QC,PD
16 | EQ-016 | Dial Gauge(Digital) Digimatric indicator | Mitutoyo | 543-790 | 13104934 | 0-12.7 mm | 0.001mm | 0.003 mm Reference TOL. Stampinbg Product = +/- 0.008 mm | 1 Year | Location : QA
17 | EQ-017 | Gauge Block Size 1.1 mm Grade 1 | Mitutoyo | 611570-031 | 150871 | Size 1.1 mm | 0.001 mm | +/-(0.001x1/3)mm = +/- 0.0003 mm Reference resolution Equipment Measuring = 0.001 mm | 2 Year | Location : QA
18 | EQ-018 | Gauge Block Size 50 mm Grade 1 | Mitutoyo | 611675-031 | 152541 | Size 50 mm | 0.001 mm | +/-(0.001x1/3)mm = +/- 0.0003 mm Reference resolution Equipment Measuring = 0.001 mm | 2 Year | Location : QA
19 | EQ-019 | Digital Caliper | Mitutoyo | 500-197-30 | A15065342 | 0-200 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : QC
20 | EQ-020 | Dial Test Indicator | Mitutoyo | 513-404 |  | 0.8 mm | Accuracy: 0:.01 | +/-0.008 mm Graduation : 0.01 | 1 Year | Location : PD
21 | EQ-021 | Digital Caliper | Mitutoyo | 500-197-30 | A15037402 | 0-200 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : QC&PD
22 | EQ-022 | CNC Video Measuring | Nikon | VMA-2520 | 1402745 | 250X200X200 mm | 0.0001 mm. | x-Axis ; 2+8L/1000 um Y-Axis ; 2+8L/1000 um XY-Axis ; 3+8L/1000 um | 1 Year | Location : QA
23 | EQ-023 | Pantone color (Solid Coated & Uncoated) | Pantone | The Plus Series |  |  |  |  | Not Cal. | Location : QA (Prajuab A.) 2 year verify (Asset No. :HR-LABEL 0013/2017)
24 | EQ-024 | Pantone color (Solid Coated & Uncoated) | Pantone | The Plus Series |  |  |  |  | Not Cal. | Location : PD (Manoon P.) 2 year Verify (Asset No. :HR-LABEL 0014/2017)
25 | EQ-025 | Pantone color (Solid Coated & Uncoated) | Pantone | The Plus Series |  |  |  |  | Not Cal. | Location : EN (Nantapan S.) 2 year verify (Asset No. :HR-LABEL 0015/2017)
26 | EQ-026 | Pantone color (Solid Coated & Uncoated) | Pantone | The Plus Series |  |  |  |  | Not Cal. | Location : CS (Amporn P.) 2 year verify (Asset No. :HR-LABEL 0016/2017)
27 | EQ-027 | Digital Light Meter | Protronics (CEM) | DT-8809A | 12095375 | 0-1000 LUX | 1 Lux |  | Not Cal. | Location : Maintanance
28 | EQ-028 | Gauge Block Size 1.1 mm Grade 1 | Mitutoyo | 611570-031 | 150845 | Size 1.1 mm | 0.001 mm | +/-(0.001x1/3)mm = +/- 0.0003 mm Reference resolution Equipment Measuring = 0.001 mm | 2 Year | Location : QA
29 | EQ-029 | Gauge Block Size 50 mm Grade 1 | Mitutoyo | 611675-031 | 162005 | Size 50 mm | 0.001 mm | +/-(0.001x1/3)mm = +/- 0.0003 mm Reference resolution Equipment Measuring = 0.001 mm | 2 Year | Location : QA
30 | EQ-030 | Scale Loupe with scale | PEAK | 10 X | - | 10mm to 0 to 10mm | 1.0mm | +/-(0.1 x 1/3)mm =+/-0.03 mm | 2 Year | Location : QA
31 | EQ-031 | Digimatic Thickness Gauge (Digital Thichness Gauge) | Mitutoyo | 547-401(543-390BS/ID-C112XBS) | 16068598 | 0 to 12mm | 0.001 mm | accuracy +/- 0.003mm | 1 Year | Location : PD
32 | EQ-032 | Digital Micrometer | Mitutoyo | 293-230-30 | 65309679 | 0-25 mm | 0.001mm | Accuracy = +/-0.002mm | 1 Year | Location : QA
33 | EQ-033 | Digital Micrometer | Mitutoyo | 293-230-30 | 65309660 | 0-25 mm | 0.001mm | Accuracy = +/-0.002mm | 1 Year | Location : QA
34 | EQ-034 | Digital Caliper | Mitutoyo | 500-196-30/CD-6" ASX | B16145646 | 0-150 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : QA
35 | EQ-035 | Digital Caliper | Mitutoyo | 500-196-30/CD-6" ASX | A16238847 | 0-150 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : QA
36 | EQ-036 | Scale Loupewith scale | PEAK | 10 X | - | 10mm to 0 to 10mm | 1.0mm | +/-(0.1 x 1/3)mm =+/-0.03 mm | 2 Year | Location : QA
37 | EQ-037 | Scale Loupewith scale | PEAK | 10 X | - | 10mm to 0 to 10mm | 1.0mm | +/-(0.1 x 1/3)mm =+/-0.03 mm | 2 Year | Location : QA
38 | EQ-038 | Scale Loupewith scale | PEAK | 10 X | - | 10mm to 0 to 10mm | 1.0mm | +/-(0.1 x 1/3)mm =+/-0.03 mm | 2 Year | Location : PD
39 | EQ-039 | Scale Loupewith scale | PEAK | 10 X | - | 10mm to 0 to 10mm | 1.0mm | +/-(0.1 x 1/3)mm =+/-0.03 mm | 2 Year | Location : QC
40 | EQ-040 | Granite inspection surface plate | Phentech | Grade 00 | - | 450x600x100mm | 0.001/m | Flatness surface: 3.5 micrometr | Not Cal. | Location : PD
41 | EQ-041 | Digimatic Thickness Gauge (Digital Thichness Gauge) | Mitutoyo | 547-401(543-390BS/ID-C112XBS) | 16062062 | 0 to 12 mm | 0.001 mm | accuracy +/- 0.003mm | 1 Year | Location : QA
42 | EQ-042 | Digital Height Gauge | Mitutoyo | 192-130/HW-30 | 1515843 | 0-300 mm | 0.01 mm | accuracy +/- 0.03mm | 2 Year | Location : PD
43 | EQ-043 | Micro TRI-Gloss with standard holder | BYK Additives & Instruments | 4446 | 1204657 | 20°/60°/80° | 60° | 20° 92.5 GU 60° 95.1 GU 60° 95.1 GU | - | Location : QA
44 | EQ-044 | Surface Roughness Tester | INSPEX® Bowers Metrology Group | IPX-105 | RE6100006 | 0.08 mm | 0.001 mm | 0.25 / 0.8 / 2.5 mm | Not Cal. | Location : QA
45 | EQ-045 | Thermohygrometer | Digicon | TH-03 | - | Temp: -10°C~+50°C (-14°F~+122°F) Humid:20%~99% RH | Temp: 0.1°C (0.2°F) Humid: 1% RH | Acuracy: Temp: ±1°C (1.8°F) Humid: ±5% RH | Not Cal. | Location : Warehouse
46 | EQ-046 | Thermohygrometer | JEDTO | HTC-1 | - | Temp: -10°C~+50°C (-14°F~+122°F) Humid:20%~99% RH | Temp: 0.1°C (0.2°F) Humid: 1% RH | Acuracy: Temp: ±1°C (1.8°F) Humid: ±5% RH | Not Cal. | Location : Inspection Fl.2
47 | EQ-047 | Thermohygrometer | - | HC520 | - | Temp: -10°C~+50°C (-14°F~+122°F) Humid:20%~99% RH | Temp: 0.1°C (0.2°F) Humid: 1% RH | Acuracy: Temp: ±1°C (1.8°F) Humid: ±5% RH | Not Cal. | Location : Inspection Fl.3
48 | EQ-048 | Thermohygrometer | - | HC520 | - | Temp: -10°C~+50°C (-14°F~+122°F) Humid:20%~99% RH | Temp: 0.1°C (0.2°F) Humid: 1% RH | Acuracy: Temp: ±1°C (1.8°F) Humid: ±5% RH | Not Cal. | Location : PD (Stamping Room)
49 | EQ-049 | Pantone color (RAL ) | Pantone | K1 Classic |  |  |  |  | 2 Year | Location :QA Center Room
50 | EQ-050 | Digital Micrometer | Mitutoyo | 293-140-30 | 67256568 | 0-25mm | 0.001 mm | = +/-(0.008x 1/5 )mm =+/-0.002 mm | 1 Year | Location : QA
51 | EQ-051 | Digital Caliper | Mitutoyo | 500-196-30/CD-6"ASX | A17193508 | 0-150 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : QA
52 | EQ-052 | Electronic Banace | Ohaus | c | 70931105 | 3000 g | 0.5 g |  | Not Cal. | Location : Mn [Not use measure product]
53 | EQ-053 | Electronic Banace | Ohaus | V11P3 | 70931101 | 3000 g | 0.5 g |  | Not Cal. | Location : Mn [Not use measure product]
54 | EQ-054 | Electronic Banace | Ohaus | T31P | B806412635 | 300 kg | 0.02 kg |  | Not Cal. | Location : Mn [Not use measure product]
55 | EQ-055 | spectrophotometers | X-rite | X-Rite eXact | 25938 |  |  |  | 2 Year | QA
56 | EQ-056 | Digital Caliper | Mitutoyo | 500-196-30/CD-6"ASX | A17242140 | 0-150 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : Maintenance
57 | EQ-057 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : PD Stamping
58 | EQ-058 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : PD Label
59 | EQ-059 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : PD Label
60 | EQ-060 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : PD Label
61 | EQ-061 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : PD Label
62 | EQ-062 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : PD Label
63 | EQ-063 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : PD Label
64 | EQ-064 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
65 | EQ-065 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
66 | EQ-066 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
67 | EQ-067 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
68 | EQ-068 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
69 | EQ-069 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
70 | EQ-070 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
71 | EQ-071 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
72 | EQ-072 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
73 | EQ-073 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
74 | EQ-074 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
75 | EQ-075 | Steel Ruler150 mm (6 inch) | - | - | - | 0-150 mm | 0-50 mm: 0.5mm 50-150mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
76 | EQ-076 | Steel Ruler300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QC Label
77 | EQ-077 | Steel Ruler 600 mm | - | - | - | 0-100 mm 100-600mm 0-3 inch 3-4 inch 4-24 inch | 0.5 mm 1 mm 1/32 inch 1/64inch 1/16 inch | +/-0.1 mm +/-0.2 mm +/- 0.012 inch (Range: 0-24inch) | 1 Year | Location : QC Label
78 | EQ-078 | Interfrared Thermometer | EDISON | IRT 537 | VA130700540 | 100 °C - 300 °C | 0.1 °C | +/- (Reading X 1%+1 °C) = 2 - 4°C | 1 Year | Location : PD Stamping
79 | EQ-079 | Thermohygrometer | - | HC520 | - | Temp: -10°C~+50°C (-14°F~+122°F) Humid:20%~99% RH | Temp: 0.1°C (0.2°F) Humid: 1% RH | Acuracy: Temp: ±1°C (1.8°F) Humid: ±5% RH | - | Location : QA (Measurement Room)
80 | EQ-080 | Pantone color (Solid Coated & Uncoated) | Pantone | The Plus Series |  |  |  |  | 2 Year | Location : CS (Amporn P.) (Asset No. :HR-LABEL 0016/2018)
81 | EQ-081 | Push Pull Gauge | IMADA | FB-300N | 375265 | Capacity 300 N | 0.25 N | Acuracy: + 0.3 % F.S. | 2 Year | Location : QA (Measurement Room)
82 | EQ-082 | Electronic Banace | TSCALE | QHW-3R+ | 118051008 | 0-3000 g | 0.05 g | +/-0.2 g or +/-0.0002 kg | 1 Year | Location : PD, QC
83 | EQ-083 | Micro Vickers Hardness | Phase II | 900-391 | PH180645 | 1HV-2967HV | 0.1 HV | Tol. = 5% of HV0.5 | 1 Year | Location : QA
84 | EQ-084 | Glossmeter | KSJ | MG6-SA | 19B02020 | 0-999 Gu | 1 Gu | ± 2 Gu (0-120 Gu) ± 1.5% (120 - 999 Gu) | 1 Year | Location : QA ( First-Inprocess)
85 | EQ-085 | Glossmeter | KSJ | MG6-SA | 18B08040 | 0-999 Gu | 1 Gu | ± 2 Gu (0-120 Gu) ± 1.5% (120 - 999 Gu) | 1 Year | Location : QA (OQA)
86 | EQ-086 | Pantone color (Solid Coated & Uncoated) | Pantone | The Plus Series |  |  |  |  | Not Cal. | Location : PD (Wittaya.) 2 year Verify (Asset No. :HR-LABEL 0003/2020)
87 | EQ-087 | Dial Gauge | Mitutoyo | 2046S | AKEA31 | 0-10 mm. | 0.01 | +/- 0.003 mm. | 1 Year | Location : PD ( Stamp Tool) 1 year Verify
88 | EQ-088 | Digital Caliper | Mitutoyo | 500-196-30/CD-6"ASX | B20000672 | 0-150 mm | 0.01 mm | Accuracy = +/-0.03mm | 1 Year | Location : PD ( Stamp Tool) 1 year Verify
89 | EQ-089 | K-Type Thermomerter (digital) | Ponpe | 421TK | PONPE5812745 | -200 to 1370 Degree C | 0.1 degree C | Accuracy = +/- (1% + 1degree C) | 2 year | Location : Mn [Use measure temperature]
90 | EQ-090 | Steel Ruler 600 mm | - | - | - | 0-100 mm 100-600mm 0-3 inch 3-4 inch 4-24 inch | 0.5 mm 1 mm 1/32 inch 1/64inch 1/16 inch | +/-0.1 mm +/-0.2 mm +/- 0.012 inch (Range: 0-24inch) | 1 Year | Location : QA
91 | EQ-091 | Steel Ruler 300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 1 Year | Location : QA
92 | EQ-092 | Steel Ruler 300 mm (12 inch) | - | - | - | 0-300 mm | 0-100 mm: 0.5mm 100-300mm : 1mm | +/-0.2mm +/-0.1 inch | 2 Year | Location : QA
93 | EQ-093 | Image Dimension Measuring System | KEYENCE | IM7030 | 8C020001 |  |  |  | 1 Year | Location : QA